## Pick List
Feature Name | Domain - Field Name | Domain Values | Code
Building | Type_Name | BUS
|  | CDO |  | Merge to CO
CO
|  | FLOOR |  | remove from pick list
MDU
PS
SDU
SEB
|  | TECHNICAL CENTRE |  | Migration not required
|  | WIC |  | Walk in Cabinet
CABINET | Type_Name | EC
FC
JWI
JWI EXTENSION
PAD
PAD EXTENSION
RISER CABINET
SEC POLE MOUNTED
VAULT
CLOSURE | Type_Name | BS CLOSURE |  | Seperate feature as Buried splice location in IQGeo
|  | CLOSURE |  | discuss
|  | PULLBOX |  | Delete from Closure
|  | READY ACCESS |  | Delete from Closure
PEDESTAL | Type_Name | COMPANY POLE MOUNTED
COMPANY STEEL STAKE
FOREIGN
JOINT LARGE PED
JOINT LIGHT PED
JOINT SPC TRF PED
JOINT STANDARD PED
JOINT TRF PED
|  | READY ACCESS |  | New (Migrate from Closure)
|  | SERVICE MAST |  | New (Migrate from pole)
POLE | Type_Name | COMPANY
FOREIGN
POWER
|  | SERVICE MAST |  | Delete from pole and will go to pedestal
SPAN JUNCTION | Type_Name | SPAN JUNCTION
TOWER | Type_Name | FIXED |  | Merger with TOWER
|  | PORTABLE |  | Remove
TOWER
VAULT | Type_Name | ESRE
HANDHOLE
MANHOLE
|  | MH-STRAIGHT |  | Merger with MANHOLE
|  | MH-TURNING |  | Merger with MANHOLE
|  | PULLBOX |  | Migrate from Closure,Migrate from FTTX structure
|  | FTTX |  | Put in pullbox
All Features | INVENTORY_STATUS_CODE | IN PLACE | IPL
|  | PENDING ADD | PDA
|  | PLAN ABANDON | PABD
|  | PLAN REMOVE | PLR
|  | PLAN ADD | PLA
|  | ABANDONED | ABD
|  | PENDING REMOVE | PER
|  | PENDING ABANDON | PEABD
Cabinet | ST_BASE_TYPE | Concrete Pad | 1
|  | Handhole Precast Concrete 1.3 x 1.9 x 1.1 | 2
|  | FDH Vault 576/432/288 | 3
|  | FDH Vault 864 | 4
|  | DSLAM Vault | 5
All Features | ST_ENVMT_CD | BU
UG
IS
STUB
U
WI
AE
Grounding | Typne_name | HAND COIL
MAINTENANCE LOOP
Anchor | Typne_name | COMPANY
JOINT
PUSH BRACE

## Structure-Vault
Name | vault
Geometry Type | point
Display Name | Vault
Title | Valut: [Structure Name]
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | (CATEGORY_NAME = 'CLOSURE' and TYPE_NAME ='PULLBOX') OR CATEGORY_NAME = 'VAULT ) OR CATEGORY_NAME = 'FTTX'
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo |  | Ne.shape
| name | structure_name | string(25) |  |  |  | Yes |  |  |  | Ne.structure_name
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo |  | Ne. structure_ref_name
| equipment | Equipments | Reference Set |  |  |  | No | select(splice_closure.housing,equipment.housing) | IQGeo
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.out_structure) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.in_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  | No | method(cables) | IQGeo
| splices | Fiber Splices | Reference Set |  |  |  | No |  | IQGeo | Will we have splicing inside building
| attachments | Attachments | Reference Set |  |  |  | No |  | IQGeo
| type_name | Type Name | string(20) | Pick List (Vault:Type_Name) |  |  | Yes |  | NE | will be autoupdated from specification
| location_code | Location Code | string(20) |  |  |  | Yes |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE | Automatically fill in from Design status
| work_order_name | Work Order Name | string(20) |  |  |  | No |  | NE | Automatically fill in from WDM | WDM.Work_order
| work_order_item_number | Work Order Item Number | bigint |  |  |  | No |  | NE | How do this field will be updated? | WDM.Work_order_number
| account_code | Account Code | string(30) |  |  |  | No |  | NE | From SAP - User will enter manually?
| clli_code | CLLI Code | string(11) |  |  |  | No |  | NE | Why two fields?
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  | No |  | NE | Why two fields?
| st_uom_cd | Unit Of Measurement Code | string(20) |  |  |  | No |  | NE
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE | user
| st_vntge_yr | Vintage Year | timestamp |  |  |  | No |  | NE | user
| st_rmks | Sasktel Remarks | string(2000) |  |  |  | No |  | NE | user
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_vlt_id | Vault Identifier | string(10) |  |  |  | No |  | NE
| st_bond_to_neut_cd | Bond To Neutral Code | string(2) |  |  |  | No |  | NE
| st_trmnl_id | Terminal Identifier | string(20) |  |  |  | No |  | NE | Auto update by terminal in bulding, will require to set reference()
| st_mh_cnfg_cd | Manhole Configuration Code | string(20) |  |  |  | No |  | NE
| st_pc_qty | Preferred Count Quantity | string(50) |  |  |  | No |  | NE
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  | No |  | NE | Automatically fill in based on Design Network Identier
| st_mh_nk_lg_qty | Manhole Neck Length | numeric(29,8) |  |  |  | No |  | NE
| st_mh_lid_dia_qty | Manhole Lid Diameter Quantity | numeric(29,8) |  |  |  | No |  | NE
| st_envmt_cd | Sasktel Environment Code | string(6) | Pick List (ST_ENVMT_CD) |  |  | Yes |  | NE
| st_rte_id | Route Identifier | string(20) |  |  |  | No |  | NE | user
| st_confined_space_designation | St Confined Space Designation | string(50) |  |  |  | No |  | NE | user
| o2dn | Optius Distinguished Name | string(1024) |  |  |  | No |  | O2 | Will be updated from O2
| o2cm | Optius Common Name | string(255) |  |  |  | No |  | O2 | Will be updated from O2
Action Item | Topic | Action to be taken
| Vault Type | Migrate type= FTTX to Pull Box
migrate closure type pull box to vault:pullbox
| Model Specifications | Don Extract and review models from Network Engineer, remove obsolete models and share in XML format , TechM to to configure them in IQ Geo.
| Symbol Library | TechM to use same Symbol as in NE, convert all rectangle block to square (later decided to keep as it is)

## Structure-Building
Name | building
Geometry Type | point
Display Name | Building
Title | Building Address: [street_num] [street]
Short Description | Building Type: [build_type]
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME = 'BUILDING' and TYPE_NAME <> 'TECHNICAL CENTRE' and TYPE_NAME <> 'FLOOR'
Attribute Finalised | Field Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source | Replaced Value | Domain Value
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo |  | Ne.shape
| name | structure_name | string(25) |  |  |  | No |  |  |  | Ne.structure_name
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo | will be autoupdated from specification | Ne. structure_ref_name
| equipment | Equipments | Reference Set |  |  |  | No | select(splice_closure.housing,equipment.housing) | IQGeo
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.out_structure) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.in_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  | No | method(cables) | IQGeo
| splices | Fiber Splices | Reference Set |  |  |  | No |  | IQGeo | Will we have splicing inside building?
| attachments | Attachments | Reference Set |  |  |  | No |  | IQGeo
| type_name | Type Name | string(20) | Pick List (Building:Type_Name) |  |  | Yes |  | NE | will be autoupdated from specification |  |  | BUS,CO,CDO,MDU,PS,SEB,SDU,WIC
| location_code | Location Code | string(20) |  |  |  | No |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE | Automatically fill in from Design status |  |  | IPL, PDA, PABD, PLR, PLA, ABD, PER, PEABD
| work_order_name | Work Order Name | string(20) |  |  |  | No |  | NE | Automatically fill in from WDM | WDM.Work_order
| work_order_item_number | Work Order Item Number | bigint |  |  |  | No |  | NE | How do this field will be updated? | WDM.Work_order_number
| account_code | Account Code | string(30) |  |  |  | No |  | NE | From SAP - User will enter manually?
| clli_code | CLLI Code | string(11) |  |  |  | No |  | NE | Why two fields?
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  | No |  | NE | Why two fields?
| st_bldg_flr_id | Building Floor Identifier | string(20) |  |  |  | No |  | NE
| st_dmctn_locn_txt | Demarcation Location Text | string(10) |  |  |  | No |  | NE | user
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE | will be autoupdated from specification
| st_vntge_yr | Vintage Year | timestamp |  |  |  | No |  | NE | user
| st_rmks | Sasktel Remarks | string(2000) |  |  |  | No |  | NE | user
| st_rte_id | Route Identifier | string(20) |  |  |  | No |  | NE | how will this get updated?
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_trmnl_id | Terminal Identifier | string(20) |  |  |  | No |  | NE | Auto update by terminal in bulding, will require to set reference()
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  | No |  | NE | Automatically fill in based on Design Network Identier
| st_envmt_cd | Sasktel Environment Code | string(6) | Pick List (ST_ENVMT_CD) |  |  | Yes |  | NE |  |  |  | BU, UG, IS, STUB, U, WI
| average_floor_height | Average Floor Height | numeric(20,8) |  |  |  | No |  | NE | user
| starting_floor | Starting Floor | bigint |  |  |  | No |  | NE | user
| ending_floor | Ending Floor | bigint |  |  |  | No |  | NE | user
| units | Units | bigint |  |  |  | No |  | NE | user
| ground_floor_number | Ground Floor Number | bigint |  |  |  | No |  | NE | user
| o2dn | Optius Distinguished Name | string(1024) |  |  |  | No |  | O2 | Will be updated from O2
| o2cm | Optius Common Name | string(255) |  |  |  | No |  | O2 | Will be updated from O2
Action Items | Topic | Action to be taken | Status
| Building Type Validation | Don shall validate the necessity of all building types and confirm if any type can be removed.
| Model Specifications | Don shall Extract and review models from Network Engineer, remove obsolete models and share in XML format , TechM to to configure them in IQ Geo.
| Building type=Floor | Migrate to floor feature
| Optius Identifiers | Added the Optius Distinguished Name and Optius Common Name IDs to the data model in IQ Geo. TechM shall bring data from O2 to these attribute
| Symbol Library | TechM to use same Symbol as in NE, convert all rectangle block to square
| Feature Tracking field- | Check with IQGeo for tracking fields in the product. Can we configure these fields in IQGeo? | VK/Atul shall check with IQGeo
created_user
created_date
last_edited_user
last_edited_date
Need to migrate NE data from IQGeo default fields
| Type: Technica Center | Dont migrate
| inventory_status_code | It shall come automatically from Design inventory status
| Mandatory fields | Discuss with SaskTel and identify mandatory attributes for fields

## Structure-Cabinet
Name | cabinet
Geometry Type | point
Display Name | Cabinet
Title | Cabinet: [name] - [specification]
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME = 'CABINET'
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo |  | Ne.shape
| name | structure_name | string(25) |  |  |  | Yes |  |  |  | Ne.structure_name
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo |  | Ne. structure_ref_name
| equipment | Equipments | Reference Set |  |  |  | No | select(splice_closure.housing,equipment.housing) | IQGeo
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.out_structure) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.in_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  | No | method(cables) | IQGeo
| splices | Fiber Splices | Reference Set |  |  |  | No |  | IQGeo | Will we have splicing inside building
| attachments | Attachments | Reference Set |  |  |  | No |  | IQGeo
| type_name | Type Name | string(20) | Pick List (Cabinet:Type_Name) |  |  | Yes |  | NE | will be autoupdated from specification
| location_code | Location Code | string(20) |  |  |  | Yes |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE | Automatically fill in from Design status
| work_order_name | Work Order Name | string(20) |  |  |  | No |  | NE | Automatically fill in from WDM | WDM.Work_order
| work_order_item_number | Work Order Item Number | bigint |  |  |  | No |  | NE | How do this field will be updated? | WDM.Work_order_number
| account_code | Account Code | string(30) |  |  |  | No |  | NE | From SAP - User will enter manually?
| clli_code | CLLI Code | string(11) |  |  |  | No |  | NE | Why two fields?
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  | No |  | NE | Why two fields?
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE | user
| st_vntge_yr | Vintage Year | timestamp |  |  |  | No |  | NE | user
| st_rmks | Sasktel Remarks | string(2000) |  |  |  | No |  | NE | user
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_trmnl_id | Terminal Identifier | string(20) |  |  |  | No |  | NE | Auto update by terminal in bulding, will require to set reference()
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  | No |  | NE | Automatically fill in based on Design Network Identier
| st_envmt_cd | Sasktel Environment Code | string(6) | Pick List (ST_ENVMT_CD) |  |  | Yes |  | NE | user
| st_base_type | Sasktel Base Type | string(50) | Pick list (ST_BASE_TYPE) |  |  | Yes |  | NE | user
| st_base_lid_type | Sasktel Base Lid Type | string(10) |  |  |  | No |  | NE | user
| st_sap_stk_id_lid | Sasktel Sap Stk Id Lid | numeric(29,8) |  |  |  | No |  | NE | user
| st_mtl_cst_base | Sasktel Mtl Cst Base | numeric(29,8) |  |  |  | No |  | NE | user
| st_mtl_cst_lid | Sasktel Mtl Cst Lid | string(10) |  |  |  | No |  | NE | user
| st_sap_stk_id_base | Sasktel Sap Stk Id Base | string(50) |  |  |  | No |  | NE | user
| o2dn | Optius Distinguished Name | string(1024) |  |  |  | No |  | O2 | Will be updated from O2
| o2cm | Optius Common Name | string(255) |  |  |  | No |  | O2 | Will be updated from O2
| Feature Modeling | The cabinet structure will be modeled with a base pad and riser, reflecting its physical setup and ensuring accurate representation in IQGeo. Create separate feature as internal to Cabinet. Use Base_Type domain list as type of base
Action Item | Model Specifications | Don Extract and review models from Network Engineer, remove obsolete models and share in XML format , TechM to to configure them in IQ Geo.
| Optius Identifiers | Added the Optius Distinguished Name and Optius Common Name IDs to the data model in IQ Geo. TechM to see how to bring data from O2 to these attribute
| Symbol Library | TechM to use same Symbol as in NE, convert all rectangle block to square

## Structure-Pedestal
Name | pedestal
Geometry Type | point
Display Name | Pedestal
Title | Building Address: [street_num] [street]
Short Description | Building Type: [build_type]
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | (CATEGORY_NAME = 'CLOSURE' and TYPE_NAME ='READY ACCESS') OR (CATEGORY_NAME = 'PEDESTAL') OR (CATEGORY_NAME = 'POLE' and TYPE_NAME ='SERVICE MAST')
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo |  | Ne.shape
| name | structure_name | string(25) |  |  |  | Yes |  |  |  | Ne.structure_name
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo |  | Ne. structure_ref_name
| equipment | Equipments | Reference Set |  |  |  | No | select(splice_closure.housing,equipment.housing) | IQGeo
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.out_structure) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.in_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  | No | method(cables) | IQGeo
| splices | Fiber Splices | Reference Set |  |  |  | No |  | IQGeo | Will we have splicing inside building
| attachments | Attachments | Reference Set |  |  |  | No |  | IQGeo
| grounding | Grounding | Reference Set |  |  |  | No |  | NE |  | NE.attachment
| type_name | Type Name | string(20) | Pick List (Cabinet:Type_Name) |  |  | Yes |  | NE | will be autoupdated from specification
| location_code | Location Code | string(20) |  |  |  | Yes |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE | Automatically fill in from Design status
| work_order_name | Work Order Name | string(20) |  |  |  | No |  | NE | Automatically fill in from WDM | WDM.Work_order
| work_order_item_number | Work Order Item Number | bigint |  |  |  | No |  | NE | How do this field will be updated? | WDM.Work_order_number
| account_code | Account Code | string(30) |  |  |  | No |  | NE | From SAP - User will enter manually?
| clli_code | CLLI Code | string(11) |  |  |  | No |  | NE | Why two fields?
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  | No |  | NE | Why two fields?
| st_oth_strct_cd | Other Structure Code | string(20) |  |  |  | No |  |  | user
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE | user
| st_vntge_yr | Vintage Year | timestamp |  |  |  | No |  | NE | user
| st_rmks | Sasktel Remarks | string(2000) |  |  |  | No |  | NE | user
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_rte_id | Route Identifier | string(20) |  |  |  | No |  |  | user
| st_trmnl_id | Terminal Identifier | string(20) |  |  |  | No |  | NE | Auto update by terminal in bulding, will require to set reference()
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  | No |  | NE | Automatically fill in based on Design Network Identier
| st_envmt_cd | Sasktel Environment Code | string(6) | Pick List (ST_ENVMT_CD) |  |  | Yes |  | NE | user
| st_fbr_grnd_pnt_ind | Sasktel Fiber Ground Point Indicator | string(10) |  |  |  | No |  | NE | user
| st_rte_pdstl_exch_txt | St Rte Pdstl Exch Txt | string(40) |  |  |  | No |  | NE | user
| o2dn | Optius Distinguished Name | string(1024) |  |  |  | No |  | O2 | Will be updated from O2
| o2cm | Optius Common Name | string(255) |  |  |  | No |  | O2 | Will be updated from O2
Action Item
| st_fbr_grnd_pnt_ind | Jason to discuss with Clayton to determine if the fiber ground point indicator is applicable for pedestals. | we found that this is updated only for [edestal
| Pedestal Type | Add new Type : Service Mast. This will be migrated from Pole
| Optius Identifiers | Added the Optius Distinguished Name and Optius Common Name IDs to the data model in IQ Geo. TechM to see how to bring data from O2 to these attribute
| Symbol Library | TechM to use same Symbol as in NE, convert all rectangle block to square
| st_rte_pdstl_exch_txt | Use this field to generate Label for Pedestal
GradeBox, ShutterBox into Pedestal

## Structure- Span_Junction
Name | mywcom_route_junction
Geometry Type | point
Display Name | Route Junction
Title | Route Junction: [id]
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME = 'SPAN_JUNCTION'
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo |  | Ne.shape
| name | structure_name | string(25) |  |  |  | Yes |  |  |  | Ne.structure_name
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo |  | Ne. structure_ref_name
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  | No | method(cables) | IQGeo
| type_name | Type Name | string(20) |  |  |  | Yes |  | NE | will be autoupdated from specification
| location_code | Location Code | string(20) |  |  |  | Yes |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE | Automatically fill in from Design status
| account_code | Account Code | string(30) |  |  |  | No |  | NE | From SAP - User will enter manually?
| clli_code | CLLI Code | string(11) |  |  |  | No |  | NE | Why two fields?
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  | No |  | NE | Why two fields?
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE | user

## Structure-Closure
Name | buried_splice_location
Geometry Type | point
Display Name | Buried splice Location
Title
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME = 'CLOSURE' and TYPE_NAME = 'BS CLOSURE
| Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo
| name | structure_name | string(25) |  |  |  | No
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo | will be autoupdated from specification
| equipment | Equipments | Reference Set |  |  |  | No | select(splice_closure.housing,equipment.housing) | IQGeo
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.out_structure) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.in_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  | No | method(cables) | IQGeo
| splices | Fiber Splices | Reference Set |  |  |  | No |  | IQGeo | Will we have splicing inside building?
| attachments | Attachments | Reference Set |  |  |  | No |  | IQGeo
| type_name | Type Name | string(20) |  |  | BS Closure | Yes |  | NE | will be autoupdated from specification
| location_code | Location Code | string(20) |  |  |  | No |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE | Automatically fill in from Design status
| work_order_name | Work Order Name | string(20) |  |  |  | No |  | NE | Automatically fill in from WDM
| work_order_item_number | Work Order Item Number | bigint |  |  |  | No |  | NE | How do this field will be updated?
| account_code | Account Code | string(30) |  |  |  | No |  | NE | From SAP - User will enter manually?
| clli_code | CLLI Code | string(11) |  |  |  | No |  | NE | Why two fields?
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  | No |  | NE | Why two fields?
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE | will be autoupdated from specification
| st_vntge_yr | Vintage Year | timestamp |  |  |  | No |  | NE | user
| st_rmks | Sasktel Remarks | string(2000) |  |  |  | No |  | NE | user
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_trmnl_id | Terminal Identifier | string(20) |  |  |  | No |  | NE | Auto update by terminal in bulding, will require to set reference()
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  | No |  | NE | Automatically fill in based on Design Network Identier
| st_envmt_cd | Sasktel Environment Code | string(6) | Pick List (ST_ENVMT_CD) |  |  | Yes |  | NE | user
| st_fbr_grnd_pnt_ind | Sasktel Fiber Ground Point Indicator | string(10) |  |  |  | No |  | NE | user
| o2dn | Optius Distinguished Name | string(1024) |  |  |  | No |  | O2 | Will be updated from O2
| o2cm | Optius Common Name | string(255) |  |  |  | No |  | O2 | Will be updated from O2
Action Item | Closure type: Buried Splice | create Buried splice Location structure in IQGeo and host Buried Splice Closure inside it to maintain topology rules.
| Closure type: PullBox | Migrate to Vault (Handhole)
| Closure type: Ready Access | Migrate to Pedestal (??) or new type in Pedestal (Ready Access)
| Closure type: Closure | Need to discuss cases
| Symbol Library | TechM to use same Symbol as in NE, convert all rectangle block to square
| Query: st_fbr_grnd_pnt_ind | st_fbr_grnd_pnt_ind: as discussed in session it is related to closure, but we have found 0 record for it , Instead we fond 471 record where st_fbr_grnd_pnt_ind is updated and all record are for Pedestal:COMPANY POLE MOUNTED

## Structure-Tower
Name | tower
Geometry Type | point
Display Name | Tower
Title | Structure_name: [structure_name]
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME = 'TOWER'
Filter Value | TOWER
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo |  | Ne.shape
| name | structure_name | string(25) |  |  |  | Yes |  |  |  | Ne.structure_name
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo |  | Ne. structure_ref_name
| equipment | Equipments | Reference Set |  |  |  | No | select(splice_closure.housing,equipment.housing) | IQGeo
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.out_structure) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  | No | select(mywcom_fiber_segment.in_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  | No | method(cables) | IQGeo
| splices | Fiber Splices | Reference Set |  |  |  | No |  | IQGeo | Will we have splicing inside building
| attachments | Attachments | Reference Set |  |  |  | No |  | IQGeo
| type_name | Type Name | string(20) | Pick List (Vault:Type_Name) |  |  | Yes |  | NE | will be autoupdated from specification
| location_code | Location Code | string(20) |  |  |  | Yes |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE | Automatically fill in from Design status
| work_order_name | Work Order Name | string(20) |  |  |  | No |  | NE | Automatically fill in from WDM | WDM.Work_order
| work_order_item_number | Work Order Item Number | bigint |  |  |  | No |  | NE | How do this field will be updated? | WDM.Work_order_number
| account_code | Account Code | string(30) |  |  |  | No |  | NE | From SAP - User will enter manually?
| clli_code | CLLI Code | string(11) |  |  |  | No |  | NE | Why two fields?
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  | No |  | NE | Why two fields?
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE | user
| st_vntge_yr | Vintage Year | timestamp |  |  |  | No |  | NE | user
| st_rmks | Sasktel Remarks | string(2000) |  |  |  | No |  | NE | user
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_trmnl_id | Terminal Identifier | string(20) |  |  |  | No |  | NE | Auto update by terminal in bulding, will require to set reference()
| st_pc_qty | Preferred Count Quantity | string(50) |  |  |  | No |  | NE
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  | No |  | NE | Automatically fill in based on Design Network Identier
| st_envmt_cd | Sasktel Environment Code | string(6) | Pick List (ST_ENVMT_CD) |  |  | Yes |  | NE
| o2dn | Optius Distinguished Name | string(1024) |  |  |  | No |  | O2 | Will be updated from O2
| o2cm | Optius Common Name | string(255) |  |  |  | No |  | O2 | Will be updated from O2
Action Item | Topic | Action to be taken
| Tower Type | Ignore Portable -dont migrate
Merge Fixed and Tower into Tower

## Structure-Pole
Name | pole
Geometry Type | Point
Display Name | Pole
Title | Pole: [Structure Name]
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME = 'POLE' and TYPE_NAME IN ( 'COMPANY', 'FOREIGN', 'POWER')
Filter Value | POLE
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  |  | Yes |  | IQGeo |  | Ne.shape
| name | structure_name | string(25) |  |  |  |  | Yes |  |  |  | Ne.structure_name
| specification | Specification | Foreign Key |  |  |  |  | Yes |  | IQGeo |  | Ne. structure_ref_name
| equipment | Equipments | Reference Set |  |  |  |  | No | select(splice_closure.housing,equipment.housing) | IQGeo
| routes | Routes | Reference Set |  |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  |  | No | select(mywcom_fiber_segment.out_structure) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  |  | No | select(mywcom_fiber_segment.in_structure) | IQGeo
| cables | Cables | Reference Set |  |  |  |  | No | method(cables) | IQGeo
| splices | Fiber Splices | Reference Set |  |  |  |  | No |  | IQGeo | Will we have splicing inside building
| pole_inspection | Pole Inspection | Reference Set |  |  |  |  | No
| anchor | Anchor | Reference Set |  |  |  |  | No
| grounding | Grounding | Reference Set |  |  |  |  | No
| type_name | Type Name | string(20) | Pick List (Vault:Type_Name) |  |  |  | Yes |  | NE | will be autoupdated from specification
| location_code | Location Code | string(20) |  |  |  |  | Yes |  | NE | How do this field will be updated?
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  |  | Yes |  | NE | Automatically fill in from Design status
| work_order_name | Work Order Name | string(20) |  |  |  |  | No |  | NE | Automatically fill in from WDM | WDM.Work_order
| work_order_item_number | Work Order Item Number | bigint |  |  |  |  | No |  | NE | How do this field will be updated? | WDM.Work_order_number
| account_code | Account Code | string(30) |  |  |  |  | No |  | NE | From SAP - User will enter manually?
| height | Height | numeric(29,8) |  |  |  |  | No
| clli_code | CLLI Code | string(11) |  |  |  |  | No |  | NE | Why two fields?
| st_uom_cd | Unit Of Measurement Code | string(20) |  |  |  |  | No
| st_pl_cl_cd | Pole Class Code | integer |  |  |  |  | No
| st_clli_cd | Sasktel CLLI Code | string(20) |  |  |  |  | No |  | NE | Why two fields?
| st_co_id | Managed Region Identifier | string(30) |  |  |  |  | No |  | NE | user
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  |  | No |  | NE | user
| st_vntge_yr | Vintage Year | timestamp |  |  |  |  | No |  | NE | user
| st_rmks | Sasktel Remarks | string(2000) |  |  |  |  | No |  | NE | user
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_rte_id | Route Identifier | string(20) |  |  |  |  | No
| st_bond_to_neut_cd | Bond To Neutral Code | string(2) |  |  |  |  | No
| st_trmnl_id | Terminal Identifier | string(20) |  |  |  |  | No |  | NE | Auto update by terminal in bulding, will require to set reference()
| st_pc_qty | Preferred Count Quantity | string(50) |  |  |  |  | No |  | NE
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  |  | No |  | NE | Upon user selection, fill in from SAP
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  |  | No |  | NE | Automatically fill in based on Design Network Identier
| st_envmt_cd | Sasktel Environment Code | string(6) | Pick List (ST_ENVMT_CD) |  |  |  | Yes |  | NE
| o2dn | Optius Distinguished Name | string(1024) |  |  |  |  | No |  | O2 | Will be updated from O2
| o2cm | Optius Common Name | string(255) |  |  |  |  | No |  | O2 | Will be updated from O2
Action Item | Topic | Action to be taken
| Pole Type | Migrate Service Mast to Pedestal
| Model Specifications | Migrate Service Mast model to Pedestal
| pole_inspection | Only for Sasktel owned poles

## Pole Inspection
Name | pole_inspection
Geometry Type
Display Name | Pole Inspection
Title
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Structure
Geometry
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME
Filter Value | POLE
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| pole_id | Pole ID | reference() |  |  |  | Yes |  | IQGeo
| st_last_insp_tech | St Last Insp Tech | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_cable_tv_ju | St Cable Tv Ju | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_cracking | St Cracking | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_splinters | St Splinters | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_sound | St Sound | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_lean | St Lean | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_pull_direction | St Pull Direction | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_last_insp_year | St Last Insp Year | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
| st_sugg_nxt_insp_yr | St Sugg Nxt Insp Yr | string(50) |  |  |  | No |  | NE |  | will be updated by user during pole inspection
Action Item | Only for Sasktel owned poles

## pole-Anchor
Name | anchor
Geometry Type | point
Display Name | Anchor
Title | {display_name}: [name]
Short Description | Anchor Spec: [specification]
Track Changes | yes
Versioned | Yes
Editable | Yes
NE Table | Attachment
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME
Filter Value | Category='ANCHOR'
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | Sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo
| rotation | Rotation | Geometry |  |  |  | Yes |  | IQGeo
| specification | Specification | Foreign Key |  |  |  | Yes |  | IQGeo
| attachment_name | Anchor Name | String(8) |  |  |  | Yes |  | NE
| structure_name | Pole Name | string(25) |  |  |  | Yes |  | NE
| type_name | Type Name | string(20) | Pick List (Anchor:Type_Name) |  |  | Yes |  | NE
| inventory_status_code | Inventory Status Code | string(4) | Pick List (Inventory Status Code) |  |  | Yes |  | NE
| transmedia_name | Transmedia_Name | string(25) |  |  |  | No |  | NE
| st_ancr_typ_cd | Anchor Type Code | string(25) |  |  |  | No |  | NE
| st_co_id | Managed Region Identifier | string(30) |  |  |  | No |  | NE
| st_ownr_co_nm | Owner Company Name | string(50) |  |  |  | No |  | NE
| st_vntge_yr | Vintage Year | integer |  |  |  | No |  | NE
| st_rmks | Sasktel Remarks | string(2000) |  |  |  | No |  | NE
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  |  | No |  | NE
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  |  | No |  | NE
| st_sap_ntwk_id | Sap Network Identifier | bigint |  |  |  | No |  | NE
| length_adjustment | Length_Adjustment | numeric(20,8) |  |  |  | No |  | NE
Action Item | type_name | COMPANY,JOINT,PUSH BRACE
Symbol should be alingeed with Messenger

## Pole Grounding
Name | grounding
Geometry Type
Display Name | Grounding
Title | Grounding: [attachment_name]
Short Description
Track Changes | yes
Versioned
Editable | Yes
NE Table | Attachment
Geometry | shape
Source ID | object_id
UUID | uuid
Filter | CATEGORY_NAME
Filter Value | GROUNDING
Attribute Finalised | Name | Display | Field Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | Sequence | IQGeo |  |  | IQGeo
| location | Location | Geometry |  |  | IQGeo |  |  | IQGeo
| specification | Specification | reference( Spec) |  |  | IQGeo |  |  | IQGeo
| type_name | Type Name | string(20) | Pick list (grounding type) |  | NE |  |  | NE
| inventory_status_code | Inventory Status Code | string(4) |  |  | NE |  |  | NE
| structure_name | Pole Name | string(25) |  |  | NE |  |  | NE
| st_co_id | Managed Region Identifier | string(30) |  |  | NE |  |  | NE
| st_ownr_co_nm | Owner Company Name | string(50) |  |  | NE |  |  | NE
| st_rmks | Sasktel Remarks | string(2000) |  |  | NE |  |  | NE
| st_vntge_yr | Vintage Year | string(2) |  |  | NE |  |  | NE
| st_sap_stk_id | Sap Stock Identifier | string(10) |  |  | NE |  |  | NE
| st_sap_actvy_cd | Sap Activity Code | string(5) |  |  | NE |  |  | NE
| st_sap_ntwk_id | Sap Network Identifier | integer |  |  | NE |  |  | NE
| attachment_name | Attachment Name | string(25) |  |  | NE |  |  | NE
| length_adjustment | Length Adjustment | numeric(20,8) |  |  | NE |  |  | NE
Action Items | Type_name | HAND COIL, MAINTENANCE LOOP
transmedia_name is not required (confirmed in mail by don & Travis)
structure_name: to check if required, as some enties has data in it

## Structure-Mid Span
Name | mid_span
Geometry Type | point
Display Name | Mid_Span
Title
Short Description
Track Changes | yes
Versioned | Yes
Editable | Yes
Attribute Finalised | Name | Display | Type | Pick List | generator | default value | Mandatory (Yes/No) | value | NE/IQGeo Field | Auto Calculation | Source
| id | Id | Unique ID |  | sequence |  | Yes |  | IQGeo
| location | Location | Geometry |  |  |  | Yes |  | IQGeo |  | Ne.shape
| equipment | Equipments | Reference Set |  |  |  | Yes |  | IQGeo
| routes | Routes | Reference Set |  |  |  | No | select(oh_route.in_structure,oh_route.out_structure,ug_route.in_structure,ug_route.out_structure,isp_route.in_structure,isp_route.out_structure) | IQGeo
| in_fiber_segments | In Fiber Segments | Reference Set |  |  |  | No | method(cables) | IQGeo
| out_fiber_segments | Out Fiber Segments | Reference Set |  |  |  | Yes |  | NE
| cables | Cables | Reference Set |  |  |  | Yes |  | NE
| splices | Fiber Splices | Reference Set |  |  |  | Yes |  | NE
| mid_span_distance | Mid Span distance | numeric(20,8) |  |  |  | No |  | NE | Auto updation from back end
| mid_span_transmedia | Mid Spance Transmedia | string(20) |  |  |  | No |  | NE
| name | Mid Span name | string(25) |  |  |  | No |  | NE
[7 empty] | No |  | NE
[7 empty] | No |  | NE
Action Item | Topic | We will update the mid span distance from the from structure of the transmedia
we found pole present at these mid span terminal, need sasktel help to understand